## Slide 1
ALLOTROPE
DPPA Settlement Case Study
Hourly Matching, Payment Mechanics & FMP Cancellation Effect
Financial DPPA (Decree 57) | Vietnam Wholesale Electricity Market | May 2026
For discussion only. All prices and profiles are illustrative.

## Slide 2
Case Study Inputs
All three scenarios share these price parameters; only the hourly load and solar profiles differ
Parameter | Symbol | Value | Note
Strike Price (PPA) | P_strike | 2,100 VND/kWh | Contracted fixed price; buyer pays to developer via CfD
FMP Midpoint | FMP_mid | 1,700 VND/kWh | Illustrative; hourly FMP varies via shape curve (SMP + CAN)
FMP Range (daily) |  | 1,156 - 2,414 | Off-peak low to evening peak high (x0.68 to x1.42 shape)
DPPA System Charge | C_DPPA | 523.34 VND/kWh | C_SSC 360.14 + C_CL 163.20 (2025 approved rates)
Distribution Loss | K_pp | 1.027263 | Loss coefficient applied to matched volume in EVN billing
Retail Tariff | Retail | 2,100 VND/kWh | Baseline: what buyer pays without DPPA (22 kV, illustrative)
Settlement Mode |  | Matched only | CfD quantity = min(load, generation) per hour
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 3
01
Daily Load & Solar Profile
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 4
Scenario B: Balanced -- 24-Hour Generation vs Load
Solar is sized to closely track daytime demand. Hours 07-17 generate solar; peak at 12:00 = 4,700 kWh
Chart: Hour of day
| 00 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Solar Generation (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 833 | 1935 | 3016 | 3910 | 4496 | 4700 | 4496 | 3910 | 3016 | 1935 | 833 | 0 | 0 | 0 | 0 | 0 | 0
Factory Load (kWh) | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 4000 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 3900 | 3900 | 3900 | 3900 | 3200 | 3200 | 3200 | 3200
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 5
Hour-by-Hour Matching (Scenario B: Balanced)
Q_match = min(Load, Gen) | Shortfall = max(Load - Gen, 0) | Excess = max(Gen - Load, 0)
Hour | Load kWh | Solar Gen | Matched | Shortfall | Excess | FMP VND | vs Strike
06:00 | 4,000 | 0 | 0 | 4,000 | -- | 1,428 | -672
07:00 | 4,000 | 833 | 833 | 3,167 | -- | 1,496 | -604
08:00 | 4,000 | 1,935 | 1,935 | 2,065 | -- | 1,564 | -536
09:00 | 4,700 | 3,016 | 3,016 | 1,684 | -- | 1,649 | -451
10:00 | 4,700 | 3,910 | 3,910 | 790 | -- | 1,700 | -400
11:00 | 4,700 | 4,496 | 4,496 | 204 | -- | 1,768 | -332
12:00 | 4,700 | 4,700 | 4,700 | -- | -- | 1,836 | -264
13:00 | 4,700 | 4,496 | 4,496 | 204 | -- | 1,887 | -213
14:00 | 4,700 | 3,910 | 3,910 | 790 | -- | 1,955 | -145
15:00 | 4,700 | 3,016 | 3,016 | 1,684 | -- | 2,006 | -94
16:00 | 3,900 | 1,935 | 1,935 | 1,965 | -- | 2,074 | -26
17:00 | 3,900 | 833 | 833 | 3,067 | -- | 2,176 | +76
18:00 | 3,900 | 0 | 0 | 3,900 | -- | 2,312 | +212
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 6
02
Per-Hour Settlement Arithmetic
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 7
Settlement Walkthrough -- 07:00 (Shortfall Hour)
Scenario B | Load 4,000 kWh | Solar 833 kWh | Shortfall 3,167 kWh | FMP 1,496 VND
 | 07:00 Shortfall Hour (Load > Generation) |  | 
Volume | Matched = min(4,000, 833) = 833 kWh ¦ Shortfall = 3,167 kWh ¦ Excess = 0 |  | 
EVN Market | Matched x FMP x K_pp | 833 x 1,496 x 1.027263 | = 1,280,142 VND
EVN DPPA | Matched x C_DPPA | 833 x 523.34 | = 435,942 VND
EVN Retail | Shortfall x Retail | 3,167 x 2,100 | = 6,650,700 VND
CfD (dev) | Matched x (Strike - FMP) | 833 x (2,100 - 1,496) | = 503,132 VND
TOTAL | EVN Market + EVN DPPA + EVN Retail + CfD |  | 8,869,916 VND
Baseline (no DPPA) | Load x Retail = 4,000 x 2,100 |  | 8,400,000 VND
Premium / (Saving) |  |  | 469,916 VND (5.6%)
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 8
Settlement Walkthrough -- 12:00 (Balanced Hour)
Scenario B | Load 4,700 kWh | Solar 4,700 kWh | Perfect match | FMP 1,836 VND
 | 12:00 Balanced Hour (Load = Generation) |  | 
Volume | Matched = min(4,700, 4,700) = 4,700 kWh ¦ Shortfall = 0 ¦ Excess = 0 |  | 
EVN Market | Matched x FMP x K_pp | 4,700 x 1,836 x 1.027263 | = 8,864,458 VND
EVN DPPA | Matched x C_DPPA | 4,700 x 523.34 | = 2,459,698 VND
EVN Retail | Shortfall x Retail | 0 x 2,100 | = 0 VND
CfD (dev) | Matched x (Strike - FMP) | 4,700 x (2,100 - 1,836) | = 1,240,800 VND
TOTAL | EVN Market + EVN DPPA + CfD |  | 12,564,956 VND
Baseline (no DPPA) | Load x Retail = 4,700 x 2,100 |  | 9,870,000 VND
Premium / (Saving) |  |  | 2,694,956 VND (27.3%)
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 9
Settlement Walkthrough -- 12:00 (Excess / Overgen Hour)
Scenario C (Load < Gen) | Load 3,600 kWh | Solar 6,200 kWh | Excess 2,600 kWh | FMP 1,836 VND
 | 12:00 Excess Hour (Generation > Load) |  | 
Volume | Matched = min(3,600, 6,200) = 3,600 kWh ¦ Shortfall = 0 ¦ Excess = 2,600 kWh (sold to grid at FMP) |  | 
EVN Market | Matched x FMP x K_pp | 3,600 x 1,836 x 1.027263 | = 6,789,798 VND
EVN DPPA | Matched x C_DPPA | 3,600 x 523.34 | = 1,884,024 VND
EVN Retail | Shortfall x Retail | 0 x 2,100 | = 0 VND
CfD (dev) | Matched x (Strike - FMP) | 3,600 x (2,100 - 1,836) | = 950,400 VND [buyer pays: Strike > FMP]
 | NOTE: In matched mode, CfD does NOT cover the 2,600 kWh excess. Developer sells excess to grid at FMP independently. |  | 
TOTAL | EVN Market + EVN DPPA + CfD |  | 9,624,222 VND
Baseline (no DPPA) | Load x Retail = 3,600 x 2,100 |  | 7,560,000 VND
Premium / (Saving) |  |  | 2,064,222 VND (27.3%)
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 10
03
The FMP Cancellation Effect
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 11
Why FMP Mostly Cancels Out
The market price you pay EVN and the CfD you settle with the developer net to approximately the Strike Price
Total cost (per kWh matched, ignoring loss factor):
= EVN Market + EVN DPPA + CfD
= (Q x FMP) + (Q x C_DPPA) + Q x (Strike - FMP)
= Q x FMP + Q x C_DPPA + Q x Strike - Q x FMP
= Q x Strike + Q x C_DPPA
The FMP terms cancel exactly. Effective cost = Strike + DPPA charge
With the loss factor (K_pp = 1.027):
Effective cost per matched kWh = Strike + C_DPPA + FMP x (K_pp - 1)
= 2,100 + 523.34 + FMP x 0.027263 ~ 2,623 + small FMP residual
At midday FMP 1,836: residual = 1,836 x 0.027 = ~50 VND/kWh => effective = ~2,673 VND/kWh vs 2,100 retail
Premium = DPPA charge + loss adj. The strike/FMP CfD swap is price-neutral; cost is in the system charges.
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 12
04
Scenario Comparison -- Daily Totals
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 13
Daily Settlement: All Three Scenarios
Same price parameters; different solar capacity and load shape. Matched-mode settlement.
Metric | Scenario A Load > Gen | Scenario B Load = Gen | Scenario C Load < Gen
Daily Load (kWh) | 123,100 | 91,300 | 72,600
Daily Solar Gen (kWh) | 28,552 | 33,080 | 44,322
Matched (kWh) | 28,552 | 33,080 | 32,508
Shortfall (kWh) | 94,548 | 58,220 | 40,092
Excess (kWh) | 0 | 0 | 11,814
Match Rate | 23.2% | 36.2% | 44.8%
Total Cost with DPPA (VND) | 274,875,485 | 210,690,815 | 171,094,487
Baseline No DPPA (VND) | 258,510,000 | 191,730,000 | 152,460,000
Premium (Cost) over Baseline | 16,365,485 VND | 18,960,815 VND | 18,634,487 VND
Blended DPPA Price (VND/kWh) | 2233 | 2308 | 2357
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 14
Scenario B Highlights (Load = Gen)
All-day settlement summary for the balanced scenario -- matched-mode, Strike 2,100 VND/kWh
Daily Load
91.3k kWh
Total factory demand
Solar Matched
33.1k kWh
36.2% match rate
Shortfall
58.2k kWh
Covered by retail grid
Excess Generation
0.0k kWh
Sold to VWEM at FMP
Blended DPPA Price
2308 VND
Per kWh all-in
Baseline (no DPPA)
2,100 VND
Per kWh retail tariff
Total DPPA Cost
210.69M VND
Daily all-in payment
Premium vs Baseline
+18.96M VND
9.9% above retail
Key Insight: At these illustrative parameters (Strike = Retail = 2,100, DPPA charge = 523 VND), DPPA carries a premium vs retail. The strategic value is RE certification, price certainty, and hedging -- not near-term cost reduction unless Strike < Retail.
Effective cost per matched kWh = Strike (2,100) + DPPA charge (523) + loss residual (~46) = ~2,669 VND
If Strike were negotiated to 1,741 VND (5% below 2,100 retail): Effective = ~2,310 VND => saving = ~210 VND/kWh on matched hours
Full-day DPPA cost range across all three scenarios: 171.09M -- 274.88M VND (vs baseline 152.46M -- 258.51M VND)
Confidential -- Allotrope VC Research | DPPA Settlement Case Study | Demo data, not financial advice

## Slide 15
Key Takeaways
01
FMP mostly cancels
The CfD and EVN market charge nearly offset. Effective cost converges to Strike + DPPA charge -- not FMP. FMP risk is hedged by design.
02
Match rate drives value
Solar that closely tracks daytime load maximises matched kWh and minimises high-cost shortfall hours. Overbuilding creates excess with no buyer benefit in matched mode.
03
DPPA charge is real
523 VND/kWh system charge (2025) is unavoidable. Cost advantage requires Strike significantly below retail -- aim for 200+ VND/kWh buffer to break even on matched hours.
04
Negotiation levers
Strike price, solar sizing, and load profile shape are the three variables a buyer can influence. Aggregating multiple meters can improve match rate and bargaining power.
allotropevc.com | tah@allotropevc.com | DPPA Settlement Case Study | May 2026